# SECTION 122216

# DRAPERY TRACK AND ACCESSORIES

## Lutron Sivoia QS

This specification is dated October 22, 2009.

This section includes editing notes to assist the user in editing the section to suit project requirements. These notes are included as hidden text, and can be revealed or hidden by one of the following methods:

Microsoft Word 2007: Click the Office button, select Word Options, select Display, then select or deselect the HIDDEN TEXT option.

Microsoft Word (earlier versions): From the pull-down menus select TOOLS, then OPTIONS. Under the tab labeled VIEW, select or deselect the HIDDEN TEXT option.

Corel WordPerfect: From the pull-down menus select VIEW, then select or deselect the HIDDEN TEXT option.

To print a copy of the specification that includes the hidden text, (1) Select “Print” (2) Select “Options” (3a) Check the box to print hidden text. (3b) Uncheck the box to not print hidden text.

This master specification section has been prepared by Lutron Electronics Company, Inc. for use in the preparation of a project specification section covering Sivoia QS electronic drive drapery track systems.

The following should be noted in using this specification:

- Hypertext links to specific websites are included after names of organizations whose standards are referenced within the text, to assist in product selection and further research. Hypertext links are contained in parenthesis and shown in blue, e.g.:

(www.astm.org)

Optional text requiring a selection by the user is enclosed within brackets, e.g.:  "Section [090000.]

Items requiring user input are enclosed within brackets, e.g.: [________]."

Optional paragraphs are separated by an "OR" statement, e.g.:

**** OR ****

For assistance on the use of the products in this section, contact Lutron Electronics Company, Inc. by calling (800) 523-9466 or visit their website at www.lutron.com.

- GENERAL

SUMMARY

Edit the following paragraphs to include only those items specified in this section.

Section Includes:

Electronic drive drapery track systems.

Drapery control system.

Coordinate the following paragraphs with other sections in the project manual.

Related Sections:

Division 01: Administrative, procedural, and temporary work requirements.

Section [__ ____ - _______]: Supporting construction.

Section [274100 - Audio-Video Systems.] [__ ____ - _______.]

Section [__ ____ - _______:] Power supply and control wiring.

Section [260923 - Lighting Control Devices.] [__ ____ - _______.]

Section [260936 – Modular Dimming Controls.] [__ ____ - _______.]

REFERENCES

Association of Electrical and Medical Imaging Equipment Manufacturers (NEMA) (www.nema.org) WD1-1999 (R2005) - General Color requirements for Wiring Devices.

ASTM International (ASTM) (www.astm.org) - D4674-89 - Standard Test Method for Accelerated Testing for Color Stability of Plastics Exposed to Indoor Fluorescent Lighting and Window-Filtered Daylight.

National Fire Protection Association (NFPA) (www.nfpa.org) 70 (2008) - National Electrical Code.

SYSTEM DESCRIPTION

Drapery System: Ultra-quiet, precision-controlled electronic drive unit hidden behind draperies, controlling drapery movement.

Edit the following paragraphs to indicate type and operation of drapery track system and system weight capacity. If more than one drapery type is required, delete requirements below and utilize “Schedule” at end of Section.

Refer to Lutron technical data for assistance in editing these requirements.

Track System: [Single drapery track.] [Dual drapery track.] [Single, tandem drapery track.] [Dual, tandem drapery track.]

In the following paragraph, Double Curve and Double Bend configurations are available only with D145 system.

Track Configuration: [Straight.] [Curve.] [Bend.] [Double Bend.]

Track Operation: [Left draw, left-mounted electronic drive unit.] [Right draw, right-mounted electronic drive unit.] [Split draw, [left-] [right-] mounted electronic drive unit.] [Tandem draw, left and right-mounted electronic drive unit.]

Track System Capacity: [105] [145] [175] pounds.

Drapery Style: [Pinch pleat.] [Ripplefold.]

Controls: [Wall mounted.] [Handheld remote.]

SUBMITTALS

Submittals for Review:

Shop Drawings: Include following for each drapery track required:

Drapery locations by room name and number using Architect’s plan numbers.

Description of track system, direction of draw, and track operation.

Attachments and accessories.

Electronic drive unit and control locations.

Low voltage wiring diagrams with system components.

Power supply locations.

Product Data: Include product descriptions, electronic drive unit attributes, control station descriptions, and operational characteristics.

Samples: 6 inch long drapery track samples showing profile and finish.

Include the following for submission of closeout submittals for the Owner's record purposes.

Closeout Submittals:

Operation and Maintenance Data.

QUALITY ASSURANCE

Manufacturer Qualifications:

Minimum 5 years experience in manufacture of low-voltage motorized shading systems.

Provide single source for shading system and control systems.

Installer Qualifications: Qualified by factory training and previous experience to install and commission specified products.

Perform work in accordance with NFPA 70.

Include the following for full size mockups for review of construction, coordination of work of several sections, testing, and observation of operation. Minimize mockups on smaller, less complex projects.

Mockup:

Provide mockup of one typical drapery system.

Show drapery tracks and accessories, electronic drive units, and controls.

Locate [where directed.] [____.]

Approved mockup may remain as part of the Work.

Include the following for a pre-installation conference attended by the parties performing the work of this section.

Minimize conferences on smaller, less complex projects.

Pre-Installation Conference:

Convene at site [2] [__] weeks prior to beginning work of this Section.

Attendance: [Architect] [Interior Designer] [Contractor] [Construction Manager] and drapery track system installer.

Review and discuss:

Product delivery and storage.

Staging and sequencing.

Interface with adjacent work.

Protection of completed work.

DELIVERY, STORAGE AND HANDLING

Include installation, programming, and maintenance instructions in product packaging.

PROJECT CONDITIONS

Do not install drapery track systems until overhead and adjacent work is completed.

WARRANTIES

Provide manufacturer’s 2 year warranty covering parts and labor and 8 year limited parts warranty covering repair or replacement of defective equipment.

Include the following paragraph for an extended warranty at additional cost.

Provide manufacturer’s 10 year warranty covering repair or replacement of defective equipment.

MAINTENANCE

Manufacturer:

Provide 24-hour, 7-day technical support for troubleshooting and programming.

Make replacement parts available for minimum of 10 years after date of manufacture.

- PRODUCTS

MANUFACTURERS

Contract Documents are based on Sivoia QS Drapery Systems by Lutron Electronics Co., Inc.

Edit the following to indicate whether or not substitutions will be permitted for the products in this section.

Substitutions: [Under provisions of Division 01.] [Not permitted.]

Delete items 1 through 3 if substitutions are not permitted.

Any substitutions provided by the contractor shall be reviewed at the contractor’s expense by the architect/interior designer at a rate of [$200.00] [$    .   ] per hour.

All proposed substitutions (clearly delineated as such) must be submitted in writing for approval by the design professional a minimum of 10 working days prior to the bid date and must be made available to all bidders. Proposed substitutes must be accompanied by a review of the specification noting compliance on a line-by-line basis.

By using pre-approved substitutions, the contractor accepts responsibility and associated costs for all required modifications to circuitry, devices, and wiring. The contractor shall provide complete engineered shop drawings (including power wiring) with deviations for the original design highlighted in an alternate color to the engineer for review and approval prior to rough-in.

COMPONENTS

Drapery Track System Components:

Tracks:

Extruded aluminum with drive belts, idler gear housings, master carriers, auxiliary carriers, covers, and mounting brackets to suit system layout.

Color-matched end caps.

Concealed splicing bars.

Optional manual-open master carrier with field-adjustable spring release.

Electronic drive units:

Operate independently, without use of external group controllers.

Audible noise: Maximum 44 dBA measured 3 feet from operator drive unit.

Power: 24 VDC, approved power supply via NEC Class 2 power source.

Controls: [[Low voltage keypad] [Contact closure input] powered from electronic drive unit.] [Infrared handheld remote.] [____.]

System Performance:

One-touch control of draperies by means of keypad or infrared remote.

Store up to 250 programmable stop points including open, close, and any other position.

Presets set by 5-second button push and hold from keypad, contact closure input, or handheld remote control.

Presets recalled by keypad, contact closure input, infrared receiver, or other lighting control system interface.

Keypad adjustment of presets disabled using lockout feature on keypad.

Open and close limits programmable from electronic drive unit, wall-mounted keypad, or handheld remote control.

10 year power failure memory.

System components electro static discharge protected.

Grouping:

Keypads and contact closure inputs can control any electronic drive unit without separate group controller.

System groups and subgroups configured at point of control without rewiring and without access to electronic drive unit.

System may contain multiple electronic drive units.

Keypads and interfaces able to operate any group or subgroup of electronic drive units.

Controls able to operate any group or subgroup of electronic drive units regardless of window or drapery treatment type.

Integration:

Electronic drive units integrate with lighting controls without separate interface.

Contact closure, RS232, and Ethernet interfaces available to interface with audio/visual equipment and security systems.

System Controls:

Drapes controlled by built-in shading columns on lighting control or by keypad.

Electronic drive units, keypads, and lighting controls contain microprocessors, allowing high level programming from any source.

Drapery tracks, skylight shades, window shades, lighting controls, and keypads wired together on same communications link.

Include the following if wall-mounted controls are desired.

Wall Mounted Controls:

Low voltage keypads:

Electronically set and reconfigure drapery track open and close limits, drapery preset positions, system groups, and system subgroups without rewiring or access to electronic drive unit.

Fit into standard electrical box.

Face plates:

Attach without visible means of attachment.

Engraved artwork.

Product color: Match NEMA WD1.

Provide immediate local LED response upon button activation.

Backlit buttons.

Removable button assemblies allowing field changes.

Capable of simultaneously controlling one or more draperies or shades.

Edit the following to indicate desired types of controls.

Type: [Two button with raise/lower.] [Three button with raise/lower.] [Five button with raise/lower.] [Three button with raise/lower and infrared reception.] [Dual three button for dual mount or two group applications.] [Dual two button with raise/lower for dual mount or two group applications.] [3 group, two button with raise/lower.]

Infrared Receivers:

Available on system keypads, or as attachment to electronic drive unit.

Electronically set and reconfigure drapery open and close limits, drapery preset points, system groups, and system subgroups without rewiring and without access to electronic drive unit.

Include circuitry to reduce degraded performance.

Remote Controls:

Infrared handheld type.

Edit the following to indicate desired types of controls.

Type: [Single drapery with open/close.] [Single drapery group with open/close and favorite preset.] [Two drapery groups open/close and favorite preset for each group.] [Lighting and drapery control on/off and favorite preset for lights and open/close and favorite preset for draperies.] [Lighting and drapery control for Lutron GRAFIK Eye.] [Lighting and drapery control for Lutron Maestro.]

Edit the following to indicate desired types of interfaces.

Infrared Interfaces:

Interface to other control system via dry contact closure input device.

Power Supplies:

Electronic drive units powered with 24 VDC from approved power supply; power supply via NEC Class 2 power source.

Edit the following to indicate desired type of transformers.

Provide [individual transformer for each electronic drive unit.] [power panel including 10 outputs.]

FINISHES

Edit the following paragraphs to indicate desired finishes.

Track and Accessories: [White baked enamel.] [Clear anodized.] [Bronze.]

Keypads: [Designer gloss,] [Designer Satin,] [Architectural Matte,] [Metal,] [____] color [to be selected from manufacturer’s full color range].

- EXECUTION

INSTALLATION

Install in accordance with manufacturer's instructions and approved Shop Drawings.

Install drapery systems to provide smooth operation.

Include the following paragraph for wall-mounted controls.

Locate controls [where directed.] [____.]

Connect to power supply [and control] wiring.

Include the following paragraph for interface with lighting control or audio/visual systems.

Connect to [lighting control] [audio/visual] [____] system.

ADJUSTING

Adjust for smooth, quiet operation.

DEMONSTRATION

Demonstrate proper operation and maintenance of drapery systems to Owner.

SCHEDULE

Include the following for a schedule listing the products in this section. Coordinate with Part 2 - Products. The following examples may assist in developing a schedule.

[Office 110:

Track system: Single drapery track.

Track configuration: Straight.

Track operation: Right draw, right-mounted electronic drive unit.

Track system capacity: 105 pounds.

Drapery style: Pinch pleat.

Controls: Handheld remote.

Conference 212:

Track system: Dual drapery track.

Track configuration: Double Bend.

Track operation: Tandem draw, left and right-mounted electronic drive unit.

Track system capacity: 145 pounds.

Drapery style: Pinch pleat.

Controls: Wall-mounted.]

END OF SECTION